**EXPORT ATC TTC for the Month of APRIL-2023 i.r.o. DVC**

Base case as received from ERLDC.

**Philosophy: Maximum Generation Minimum Demand considering N-1 criteria**

Total Available Generation = **6200 MW\*.**

Total Demand of DVC= **2841 MW (**Min)

Net export TTC calculated as in PSSE = **3311 MW** (considering N-1 contingency)

Net export ATC= (3311 – 57) MW = **3254 MW (**Reliability Margin 57 MW (i.e. 2% of total Demand).

*\*Consideration: All generators are on bar with maximum gen. Hydel generation of 20MW. RTPS Generation has been considered as 1000MW.*